## AllEquipments
All Equipments
Division | assigned ID | Model | Description | Type | Next Cal Date | Next PM Date | Cal Tech | PM Tech | Location | Serial # | Status | Engg | Calibration not required | PM not required | Cal in progress | Manufacturer | Cal interval | down | Cal Document | PM Document | Decomissioned
GAC | # FILTRATION SYSTEM | TRIO TECH 233-F |  | FILTRATION SYSTEM | 2003-01-01 | 2022-04-06 | N/A | Karlo | Environmental | 285 |  | Y | Y | N | N |  | 0 | N |  |  | N
GAC | 001 | ACCURA 3 |  | Die Attach | 2003-01-01 | 2025-01-02 | N/A | Rhod | FOL | 25607 | Next Yearly PM Date 11/16/2023 | N | Y | N | N | ACCURA | 0 | N | N/A | GAF-1161 | N
GAC | 002 | Techcon |  | Die Attach | 2003-01-01 | 2024-10-25 | N/A | Lucio | FOL | 0800 | Next yearly PM. 10/25/2023 | N | Y | N | N |  | 0 | N |  | GAF-1161 Rev 04 | N
GAC | 003 | AD3000VH |  | Die Attach | 2003-01-01 | 2025-01-02 | N/A | Jay/Lucio | FOL | 62839 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 004 | AD3000VH |  | Die Attach | 2003-01-01 | 2024-07-09 | N/A | John | FOL | 062803Z | Next Yearly Pm. 08-29-2024 | N | Y | N | N |  | 0 | N |  |  | N
GAC | 005 | Techcon |  | Die Attach | 2003-01-01 | 2024-07-24 | N/A | Lucio | FOL | 00667 | Next Yearly Pm. 01/17/2024 | N | Y | N | N |  | 0 | N |  | GAF-1161 Rev 4 | N
GAC | 006 | DX-200 |  | Dispenser | 2003-01-01 | 2024-08-10 | N/A | Rhod | EOL | 000136 |  | N | Y | N | N | OKI | 0 | N |  |  | N
GAC | 007 | E134528 |  | Dispenser | 2003-01-01 | 2024-06-28 | N/A | Lucio | EOL | 26282 | Next Yearly PM. 10/11/2024 | N | Y | N | N |  | 0 | N |  |  | N
GAC | 00831 | OLYMPUS |  | Microscope | 2003-01-01 | 2024-12-18 | N/A | Jay/Lucio | FOL | SZ30 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 0899 | NIKON |  | Microscope | 2003-01-01 | 2024-12-18 | N/A | Jay/Lucio | FOL | 6010899 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 1031 | MARKEM 530 |  | MARKER | 2003-01-01 | 2024-06-16 | N/A | Rhod/Amado | Marking | 880889 |  | N | Y | N | N | Markem | 0 | N |  | OWNER'S MANUAL | N
GAC | 1034 | MARKEM 530 |  | MARKER | 2003-01-01 | 2024-06-14 | N/A | Rhod/Amado | Marking | 900049 | NEXT YEARLY PM 07/22/2024 | N | Y | N | N | Markem | 0 | N |  | OWNERS MANUAL | N
GAC | 1038 | AW 5100 |  | Welder | 2003-01-01 |  | N/A | N/A | FOL | 1163-00 | NEXT YEARLY pm 03/23/2024 | N | Y | Y | N | POLARIS | 0 | Y |  |  | N
GAC | 1040 | V651-PAL |  | VIBRATION | 2003-01-01 | 2024-09-05 | N/A | Lucio | Environmental | 87171-001/1 |  | N | Y | N | N | LDS | 0 | N |  |  | N
GAC | 1055 | VIP70A |  | Furnace | 2003-01-01 | 2024-06-30 | N/A | Rhod | Environmental | IDTC-1 | YEARLY PM DUE DATE: 11/07/2024 | N | Y | N | N | BTU INTERNATIONAL | 0 | N |  | OWNER'S Manual | N
GAC | 1074 | L924 |  | RTC | 2003-01-01 | 2024-06-21 | N/A | Amado | FOL | 1624098701 | Next Yearly Pm. 08/29/2024 | N | Y | N | N |  | 0 | N |  |  | N
GAC | 1093 | S-910 |  | RTC | 2003-01-01 | 2024-12-19 | N/A | Rhod | FOL | 1409099101 | Next Yearly Pm. 6-22-2024 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 1118 | 4800 |  | Die Grind | 2003-01-01 | 2024-12-19 | N/A | JAY/RHOD | FOL | 1317 | Next Yearly PM. 07/10/2024 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 1123 | 1300 |  | Torque Tester | 2003-01-01 | 2024-10-10 | N/A | Lucio | EOL | 11114 |  | N | Y | N | N | HMP | 0 | N |  | GAF-1161 | N
GAC | 1153 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-12-18 | N/A | Jay/Lucio | FOL | 1153 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 1171 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2023-07-18 | N/A | Rhod/Lucio | FOL | 1171 |  | N | Y | N | N |  | 0 | Y |  |  | N
GAC | 1172 | MEIJI EMT |  | Microscope | 2003-01-01 | 2023-07-16 | N/A | Bi-optic | FOL | DA-MAN-4 |  | N | Y | N | N |  | 0 | Y |  |  | N
GAC | 1216 | GR200 |  | SCALE | 2024-07-20 |  | PMI | Karlo | Environmental | 50004 |  | N | N | Y | N |  | 0 | N |  |  | N
GAC | 1220 | R200 |  | Temp/ Humidity Recorder | 2025-03-26 |  | Dickso | N/A | Environmental | 19179285 |  | N | N | Y | N | DICKSON | 0 | N | C of C |  | N
GAC | 1221 | R200 |  | Temp/ Humidity Recorder | 2024-04-18 |  | Dickso | N/A | Marking | 16422071 |  | N | N | Y | N | DICKSON | 0 | N | C OF C |  | N
GAC | 1223 | R200 |  | Temp/ Humidity Recorder | 2024-04-18 |  | Dickso | N/A | EOL | 16422065 |  | N | N | Y | N | DICKSON | 0 | N | C of C |  | N
GAC | 1234567890 | test model |  | Accelerometer | 2003-01-01 | 2003-01-01 |  |  |  | 1234567890 |  | N | Y | Y | N | new manufacturer | 0 | N |  |  | N
GAC | 1241 | MS-40D |  | Microscope | 2003-01-01 | 2024-08-13 | N/A | GAC | Marking | 1241 |  | N | Y | N | N | MEIJI TECHNOlOGY | 0 | N |  |  | N
GAC | 1251 | TDS2024C |  | Oscilloscope | 2025-05-02 |  | PMI | Rhod | Environmental | C013613 |  | N | N | Y | N | Tektronix | 0 | N | PMI C of C |  | N
GAC | 1253 | 751LDIN |  | Torque Tester | 2024-11-14 |  | PMI | N/A | Environmental | 1021503294 |  | N | N | Y | N | CDI TORQUE PRODUCTS | 0 | N | 3605794 |  | N
GAC | 1254 | 83-5402 |  | Fine Leak bomb | 2024-03-15 | 2023-09-06 | Rhod | Rhod/John | Environmental | 9716 |  | N | N | N | N | BINKS U.S.A. | 0 | Y |  |  | N
GAC | 1255 | 83-5400 |  | Fine Leak bomb | 2024-03-15 | 2023-09-09 | Rhod | John | Environmental | 9661 |  | N | N | N | N | BINKS U.S.A. | 0 | Y |  |  | N
GAC | 1256 | E3630A |  | Power Supply | 2024-07-28 |  | PMI | N/A | Environmental | KR85014993 |  | N | N | Y | N | Hewlett Packard | 0 | N | 3581314 |  | N
GAC | 1257 | SPD3303X-E |  | Power Supply | 2024-08-18 |  | PMI | N/A | Environmental | SPD3XIDX4R1782 |  | N | N | Y | N | SIGLENT | 0 | N | 35581315 |  | N
GAC | 1258 | SPD3303X-E |  | Power Supply | 2024-08-01 |  | PMI | N/A | Environmental | SPD3XIDX4R1783 |  | N | N | Y | N | SIGLENT | 0 | N | 3581316 |  | N
GAC | 1266 | VEN IV PARALLEL |  | Seam Sealer | 2003-01-01 | 2024-10-17 | N/A | Jay/Lucio | FOL | A11-1466-12 | Next Yearly PM 10/18/2024 | N | Y | N | N | POLARIS | 0 | N |  | GAF-1161 | N
GAC | 1271 | MP |  | Mechanical shock | 2003-01-01 | 2024-06-05 | N/A | Amado | Environmental | ED0085 | Next Yearly PM 09/05/23 | N | Y | N | N | avex | 0 | N |  | OWNER'S MANUAL | N
GAC | 1275 | MARKEM 612 |  | Plate Maker | 2003-01-01 |  | N/A | N/A | Environmental | 920363 | NEXT YEARLY 07/05/2023 | N | Y | Y | N | MARKEM CORPORATION | 0 | N |  | OWNER'S MANUAL | N
GAC | 1276 | MARKEM 530 |  | MARKER | 2003-01-01 | 2024-06-14 | N/A | Amado | Marking | 920167 |  | N | Y | N | N | Markem | 0 | N |  | Owner's MANUAL | N
GAC | 1282 | DAD-341 |  | Saw | 2003-01-01 | 2024-06-20 | N/A | Lucio | FOL | HF1086 | Next yearly PM. 4/27/2024 | N | Y | N | N | DISCO | 0 | N |  |  | N
GAC | 1298 | 947 |  | Saw | 2003-01-01 | 2024-11-01 | N/A | Lucio | EOL | 670043 |  | N | Y | N | N | Advance Dicing Technology | 0 | N |  | GAF-1161 | N
GAC | 13002 | DN - 83 |  | Oven | 2024-11-07 | 2024-06-05 | GAC | Lucio | Marking | 196004 | Next Yearly PM: 11/06/2024 | N | N | N | N | Baxter | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13003 | G202 |  | Bubble Leak Test Detector | 2020-09-22 |  | GAC | N/A | Environmental | 732 |  | Y | N | Y | N | Trio-tech | 0 | N | Manual |  | N
GAC | 13006 | PRS-801 |  | Resistance System | 2024-08-16 |  | PMI | Rhod | Engineering | 0808AB0014 |  | N | N | Y | N | Prostat Coporation | 0 | N | 3584029 |  | N
GAC | 13007 | 9000 |  | Centrifuge | 2025-01-13 | 2024-06-16 | GAC | Rhod | Environmental | 904273 | 09/02/2024 | N | N | N | N | Web technology, Inc. | 0 | N | ME-18011 | OWNER'S MANUAL | N
GAC | 13009 | DVG-64 |  | Digital Vacuum Gauge | 2024-08-17 |  | TEKTRO | N/A | FOL | B032684 |  | N | N | Y | N | Omega | 0 | N | 32385 |  | N
GAC | 13010 | LCC2-14N-3 |  | Oven | 2024-09-11 | 2024-06-04 | GAC | Rhod | FOL | 183126 | Next Yearly Pm. 8/23/23 | N | N | N | N | DESPATCH INDUSTRIES | 0 | N |  |  | N
GAC | 13012 | Sebastian V |  | Stud Pull Test | 2024-01-13 | 2023-12-26 | Quad G | Rhod | FOL | 199070VALB | Next Yearly PM. 03/28/2024 | N | N | N | N | Quad Group | 0 | Y | C of C |  | N
GAC | 13019 | R200 |  | Temp/ Humidity Recorder | 2025-03-26 |  | Dickso | N/A | FOL | 19124391 |  | N | N | Y | N | DICKSON | 0 | N | AQWI-7.1 |  | N
GAC | 13047 | PH-200 |  | Oven | 2024-10-24 | 2024-06-04 | GAC | Amado | FOL | 3211001993 | Next Yearly PM 08/08/2024 | N | N | N | N | Tabai Spec | 0 | N | Owner's Manual | Owner's Manual | N
GAC | 13052 | CD-6"ASX |  | Caliper | 2024-07-28 |  | PMI | N/A | EOL | A19113111 |  | N | N | Y | N | MITUTOYO | 0 | N | Report #3575953 |  | N
GAC | 13055 | CD-6"ASX |  | Caliper | 2024-11-14 |  | PMI | N/A | FOL | A19252161 |  | N | N | Y | N | MITUTOYO | 0 | N | 3587012 |  | N
GAC | 13057 | 0-1 |  | Micrometer | 2024-08-08 |  | PMI | Karlo | Solder | 1286408 |  | N | N | Y | N | Mitutoyo | 0 | N | 3583159 |  | N
GAC | 1306 | FGMV173KWA |  | Oven | 2003-01-01 | 2024-06-12 | N/A | AMADO/LUCIO | FOL | N//A |  | N | Y | N | N | FRIGIDAIRE | 0 | N |  | GAF-1161 | N
GAC | 13060 | 611191-24 |  | Gauge block | 2026-01-18 |  | PMI | Karlo | Engineering | 930107 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 13061 | 611310-24 |  | Gauge block | 2026-01-18 |  | PMI | Karlo | Engineering | 930674 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 13062 | 611304-24 |  | Gauge block | 2026-02-16 |  | PMI | Karlo | Engineering | 890508 |  | N | N | Y | N | Mitutoyo | 0 | N | GA |  | N
GAC | 13080 | Type K |  | Thermocouple | 2025-04-01 |  | PMI | Rhod | FOL for Profiler | TCW1 |  | N | N | Y | N |  | 0 | N | 3780079 |  | N
GAC | 13081 | VENUS IV |  | Oven | 2024-10-18 | 2024-06-05 | GAC | Amado | FOL | 14660-00 | Next Yearly Pm. 2/16/2024 | N | N | N | N | Polaris | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13092 | 822 |  | Saw | 2024-12-04 |  | PMI | Rhod | FOL | RM1 |  | N | N | Y | N |  | 0 | N |  |  | N
GAC | 13131 | 123 |  | Solder Dip Tester | 2024-11-09 | 2024-11-07 | GAC | Lucio | Solder | SD#1 |  | N | N | N | N | ROBOTIC DIPPING SYSTEM | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13134 | TSE-11-A |  | Temp Cycle | 2024-08-10 | 2024-08-10 | Acom | Lucio | Environmental | 16000316 | Next Yearly Pm 08/10/24 | N | N | N | N | Espec | 0 | N | C of C |  | N
GAC | 13135 | TSE-11-A |  | Temp Cycle | 2025-01-25 | 2024-08-26 | Acom | Lucio | Environmental | 161000508 | Next Yearly PM 08/10/24 | N | N | N | N | Espec | 0 | N | C of C | Owner's Manual | N
GAC | 13136 | TSB-51 |  | Thermal Shock | 2024-07-26 | 2024-08-23 | GAC | Lucio | Environmental | 172000199 | Neat Yearly PM08/23/2024 | N | N | N | N | Espec Corp | 0 | N |  | OWNER'S MANUAL | N
GAC | 13143 | 80PK-22 |  | Thermocouple | 2024-11-28 |  | PMI | N/A | Solder | 80pk |  | N | N | Y | N | Fluke | 0 | N | 3738820 |  | N
GAC | 13144 | DC-80 |  | SCALE | 2024-12-06 |  | PMI | N/A | Environmental | 583484 |  | N | N | Y | N | Digi-matex | 0 | N | 3740133 |  | N
GAC | 13145 | 4005105 |  | Saw | 2024-06-19 |  | GAC | N/A | FOL | 51740051052417.00 |  | N | N | Y | N |  | 0 | N |  |  | N
GAC | 13151 | Type K |  | Temperature Probe | 2025-05-07 |  | PMI | N/A | FOL | 88014K |  | N | N | Y | N | Omega | 0 | N | 3672607 |  | N
GAC | 13156 | 610195-23 |  | Gauge block | 2026-01-18 |  | PMI | Karlo | Engineering | 952356 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 13157 | 611201-23 |  | Gauge block | 2025-08-03 |  | GAC | Rhod | Engineering | 954723 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 13158 | 611204-23 |  | Gauge block | 2025-05-02 |  | PMI | Karlo | Engineering | 950006 |  | N | N | Y | N | Mitutoyo | 0 | N | 3665411 |  | N
GAC | 13165 | 7000E |  | Wire Pull Tester | 2024-10-20 | 2024-10-20 | GAC | John/Rhod | FOL | 1737 |  | N | N | N | N | West Bond | 0 | N |  |  | N
GAC | 13165-S | OLYMPUS |  | Microscope | 2003-01-01 | 2024-11-10 | N/A | JAY | FOL | SZ2-STB1 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 13170 | Aerostat Xc |  | Ionizer | 2024-09-13 | 2024-07-03 | GAC | Amado | Environmental | W296711 |  | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13171 | Aerostat Xc |  | Ionizer | 2024-09-13 | 2024-06-21 | GAC | Amado | EOL | W288004 |  | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13172 | Aerostat XC |  | Ionizer | 2024-09-13 | 2024-07-03 | GAC | Amado | Marking | W288012 | NEXT CALIBRATION 08/02/2023 | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13173 | Aerostat XC |  | Ionizer | 2024-09-13 | 2024-07-03 | GAC | Rhod | Environmental | W288017 |  | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13175 | 775 |  | Electrostatic Field Meter | 2025-03-15 |  | PMI | N/A | Engineering | 3278 |  | N | N | Y | N | ION SYSTEM | 0 | N | 3642707 |  | N
GAC | 13178 | PFM-711A/CPM-720A |  | Electrostatic Field Meter | 2025-02-23 |  | PMI | N/A | Engineering | 06648,02698 |  | N | N | Y | N | PROSTAT CORP | 0 | N | C of C |  | N
GAC | 13179 | PDT-740B |  | Electrostatic Field Meter | 2025-02-23 |  | PMI | N/A | Engineering | 14789 |  | N | N | Y | N | PROSTAT | 0 | N | C of C |  | N
GAC | 13181 | Class M2 |  | Weight Set (Class M2) | 2024-11-08 |  | PMI | Rhod | Engineering | 68718 |  | N | N | Y | N |  | 0 | N | 3611454 |  | N
GAC | 13182 | A49-0001-08 |  | Oven | 2024-11-16 | 2024-06-05 | GAC | Amado | FOL | 2072-02 | Next Yearly PM 11/20/2024 | N | N | N | N | Polaris | 0 | N | GAF-1001 |  | N
GAC | 13184 | 421502 |  | Digital Thermometer | 2024-10-09 |  | PMI | N/A | EOL | 15000126 |  | N | N | Y | N | Extech Instrument's | 0 | N |  |  | N
GAC | 13185 | MR15 |  | Fine Leak Detector | 2025-01-10 | 2025-01-11 | WILSON | Rhod & John | Environmental | MY15040011 | Next Yearly PM 08-11-24 | N | N | N | Y | Agilent Technologies | 0 | N | C of C |  | N
GAC | 13186 | HDLMR15 |  | Fine Leak Detector | 2025-05-01 | 2025-05-01 | Agilen | Service Maintenance | Environmental | MY19200008 |  | N | N | N | Y | AGILENT TECHNOLOGY | 0 | N | C of C |  | N
GAC | 13187 | CLP-9-HE-4MVCR/118T-110CC |  | Fine Leak Detector | 2024-07-25 |  | VTI | Karlo | EOL | 6673 |  | N | N | Y | N | Vacuum Technology Inc. | 0 | N | C of C |  | N
GAC | 13188 | 02-0103 |  | Torque Tester | 2024-07-25 |  | PMI | Karlo | Environmental | 0BL100321 |  | N | N | Y | N | Mountz, Inc. | 0 | N | PMI |  | N
GAC | 13189 | Aerostat XC |  | Ionizer | 2024-09-13 | 2024-07-03 | GAC | John | EOL | 153140026123027 |  | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13190 | A-50-0015-US |  | Oven | 2024-10-18 | 2024-06-04 | GAC | Amado | FOL | 11631-02 | Next Semi Annual PM 10/16/2024 | N | N | N | N | POLARIS | 0 | N |  |  | N
GAC | 13191 | Aerostat Pc |  | Ionizer | 2023-10-11 | 2023-07-02 | GAC | John | EOL | 985140033672086 |  | Y | N | N | N | SIMCO | 0 | N |  |  | N
GAC | 13192 | Aerostat XC |  | Ionizer | 2024-08-06 | 2024-06-06 | GAC | Amado | Environmental | T160399 |  | N | N | N | N | Simco | 0 | N | ME-18011 |  | N
GAC | 13195 | 0-100 PSI |  | Pressure Gauge | 2025-03-15 |  | PMI | N/A | Engineering | 8912 |  | N | N | Y | N | Ashcroft | 0 | N | 3654945 |  | N
GAC | 13196 | PH-200 |  | Oven | 2024-07-19 | 2024-06-05 | GAC | Amado | Marking | 211000658 | Next Yearly Pm. 07/21/2024 | N | N | N | N | ESPEC | 0 | N |  | Owner's Manual | N
GAC | 13197 | PH-200 |  | Oven | 2024-07-19 | 2024-06-12 | GAC | Amado | Marking | 211000654 | Next Yearly Pm. 07/21/2024 | N | N | N | N | ESPEC | 0 | N |  | GAF-1161 | N
GAC | 13200 | DKN602 |  | Oven | 2024-11-10 | 2024-06-05 | GAC | Amado | EOL | BAY00055 | Next Yearly Pm. 09/01/2024 | N | N | N | N | YAMATO SCIENTIFIC | 0 | N |  |  | N
GAC | 13201 | DKN602C |  | Oven | 2024-09-04 | 2024-06-13 | GAC | Amado | FOL | J1201217 | Next Yearly PM. 8/24/2024 | N | N | Y | N | Yamato Scientific | 0 | N | OWNER'S MANUAL2 | OWNER'S MANUAL | N
GAC | 13202 | CC-05S-ME-HP |  | Oven | 2024-10-24 | 2024-06-12 | GAC | Amado | FOL | P19J-427300-PJ | Next Yearly PM: 10/17/2024 | N | N | N | N | BLUE M ELECTRIC | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13208 | 19540 |  | Ionizer | 2024-09-16 | 2024-06-14 | GAC | Amado | EOL | 138023 |  | N | N | N | N | DESCO | 0 | N |  |  | N
GAC | 13209 | 19540 |  | Ionizer | 2024-09-13 | 2024-06-21 | GAC | Lucio | Environmental | 0138022 |  | N | N | N | N | Desco | 0 | N |  |  | N
GAC | 13210 | 19250 |  | Wriststrap/Footstrap Tester | 2024-06-22 |  | PMI | Rhod | Environmental | 233027 |  | N | N | Y | N |  | 0 | N | 3686124 |  | N
GAC | 13223 | 353B34 |  | Accelerometer | 2024-09-27 |  | Dytran | N/A | Environmental | 89694 |  | N | N | Y | Y | PCB Piezotronics Inc. | 0 | N | C of C |  | N
GAC | 13224 | CI-450t |  | Particle Counter | 2023-11-22 |  | PSI | Rhod | FOL | 79817 |  | N | N | Y | N | Climate Instruments | 0 | N | C of C |  | N
GAC | 13226 | 353B34 |  | Accelerometer | 2024-11-28 |  | Piezot | N/A | Lab/ Vibration | LW1702928 |  | N | N | Y | N | Piezotronics MTS systems corporation | 0 | N | C of C |  | N
GAC | 13228 | C103-006 |  | Centrifuge | 2024-08-10 | 2024-06-02 | GAC | Lucio | Environmental | 42592 |  | N | N | N | N | Trio-Tech | 0 | N |  | OWNER'S MANUAL | N
GAC | 13229 | 45-3.1A |  | Freezer | 2024-11-02 | 2024-11-01 | GAC | JAY | FOL | S8002945 | Next HY PM. 04/27/2023 | N | N | N | N | SCIENTEMP CORP | 0 | N | GAF-1001 Rev 17 | GAF-1161 | N
GAC | 13230 | 45-3.1A |  | Freezer | 2024-11-04 | 2024-11-06 | GAC | RHOD/AMADO | EOL | S8002946 | Released for Production use | N | N | N | N | Scientemp Corp. | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13234 | BW-LPD-D4000 |  | PIND | 2025-04-30 |  | BW Eng | Rhod | Environmental | 4206 |  | N | N | Y | N | B & W | 0 | Y | C of C |  | N
GAC | 13236 | G-203A |  | Bubble Leak Test Detector | 2024-07-25 | 2024-07-24 | GAC | Rhod/Amado | Environmental | 42748 |  | N | N | N | N | TRIO TECH | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13237 | 7000E |  | Wire Pull Tester | 2024-10-24 | 2024-10-24 | GAC | Rhod | FOL | 19479 |  | N | N | N | N | West Bond | 0 | N |  | GAF-1161 | N
GAC | 13237-S | OLYMPUS |  | Microscope | 2003-01-01 | 2024-11-10 | N/A | JAY | FOL | SZ51 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 13238 | 27 |  | Digital Multimeter | 2025-03-16 |  | PMI | Karlo | Burn-in | 6055038 |  | N | N | Y | N | FLUKE | 0 | N | 3654946 |  | N
GAC | 13239 | 27 Series |  | Digital Multimeter | 2024-06-05 |  | PMI | N/A | Burn-in | 99340023 |  | N | N | Y | N | Fluke | 0 | N | PMI C of C |  | N
GAC | 13240 | 475044 |  | Digital Force Gauge | 2024-08-21 |  | PMI | N/A | FOL | A001426 |  | N | N | Y | N | Extech Instruments | 0 | Y | 369951 |  | N
GAC | 13243 | EA2-TX-100 |  | Moisture Sensor | 2024-11-26 |  | PST | N/A | FOL | 0C46-030 |  | N | N | Y | N | Michell Instruments | 0 | N | C of C |  | N
GAC | 13246 | RD8312 |  | Data Recorder | 2024-08-24 |  | PMI | Rhod | FOL | 6001950 |  | N | N | Y | N | Omega | 0 | Y | 3587236 |  | N
GAC | 1325 | MS-40D |  | Microscope | 2003-01-01 | 2024-07-21 | N/A | GAC | 4TH OPTICAL | 170111 |  | N | Y | N | N | MEIJI TECHNOLOGY | 0 | N |  |  | N
GAC | 13262 | PCS-730 |  | Electrostatic Field Meter | 2025-02-23 |  | PMI | N/A | Engineering | 13262 |  | N | N | Y | N | PROSTAT CORP. | 0 | N |  |  | N
GAC | 13269 | 4003367 |  | Ionizer | 2024-10-12 | 2024-06-28 | GAC | Amado | FOL | 171040033671003 | Released for production use. | N | N | N | N | SIMCO | 0 | N | GAF-1001 Rev 17 | GAF-1161 | N
GAC | 13270 | 4003367 |  | Ionizer | 2024-10-19 | 2024-06-03 | GAC | Amado | FOL | 171040033671004 | Released for production use. | N | N | N | N | Simco | 0 | N | GAF-1001 Rev 17 | GAF-1161 | N
GAC | 13271 | Aerostat PC |  | Ionizer | 2024-10-19 | 2024-06-28 | GAC | Amado | FOL | 171040033671005 |  | N | N | N | N | Simco | 0 | N | GAF-1001 | Owner's manual | N
GAC | 13272 | Aerostat PC |  | Ionizer | 2024-09-14 | 2024-06-21 | GAC | Amado | FOL | 171040033671007 | RELEASED FOR PRODUCTION USE | N | N | N | N | SIMCO | 0 | N |  | GAF-1161 | N
GAC | 13273 | Aerostat PC |  | Ionizer | 2024-10-19 | 2024-06-22 | GAC | Amado | FOL | 171040033671006 |  | N | N | N | N | SIMCO | 0 | N | GAF-1001 REV 17 | GAF-1161 | N
GAC | 13274 | AEROSTAT XC2 |  | Ionizer | 2024-10-16 | 2024-06-14 | GAC | Amado | FOL | 171491XC2US04H3007 |  | N | N | N | N | SIMCO | 0 | N |  |  | N
GAC | 13275 | 5810i |  | Ionizer | 2024-09-16 | 2024-06-14 | GAC | Amado | EOL | R26124 |  | N | N | N | N | SIMCO | 0 | N |  | owner's manual | N
GAC | 13276 | 91-GUARDD-US01 |  | Ionizer | 2024-09-16 | 2024-06-14 | GAC | Amado | EOL | 1937GUARDDUS0011570 | Half Year CAL done 09/23/2023 | N | N | N | N | SIMCO | 0 | N |  | GAF-1161 Rev 4 | N
GAC | 13277 | 91-GUARDD-US01 |  | Ionizer | 2024-09-16 | 2024-06-14 | GAC | Amado | EOL | 1942GUARDDUS011599 | Next Half Year CAL 09/28/2023 | N | N | N | N | SIMCO | 0 | N |  |  | N
GAC | 13278 | Aerostat XC |  | Ionizer | 2024-09-04 | 2024-06-02 | GAC | Amado | 4TH OPTICAL | 192840026123029 |  | N | N | N | N | Simco Ion | 0 | N |  |  | N
GAC | 13286 | ID-C125REXB |  | ADS Digimatic Indicator | 2024-09-16 |  | PMI | N/A | FOL | 15074446 |  | N | N | Y | N | Mitutoyo | 0 | Y | See attached |  | N
GAC | 13287 | 3200B6 |  | Accelerometer | 2025-04-18 |  | Dytran | N/A | Lab/Mechanical Shock | 13387 |  | N | N | Y | N | Dytran Instruments Inc | 0 | N | C of C |  | N
GAC | 13288 | 421502 |  | Digital Thermometer | 2025-04-24 |  | PMI | N/A | Burn-in | 15000288 |  | N | N | Y | N | Extech Instruments | 0 | N | 3665413 |  | N
GAC | 1331 | MARKEM 530 |  | MARKER | 2003-01-01 | 2024-01-19 | N/A | Lucio | Marking | 922110 | Next Yearly Pm. WW45 11-08-2023 | Y | Y | N | N |  | 0 | N |  | OWNER'S MANUAL | N
GAC | 13344 | EA2-TX-100-HD |  | Moisture Sensor | 2025-04-01 |  | Michel | N/A | Environmental | E564-111 |  | N | N | Y | N | MICHELL INSTRUMENTS | 0 | Y | C of C |  | N
GAC | 13346 | 5839N |  | Digi Timer | 2025-02-13 |  | PMI | N/A | EOL | 105058 |  | N | N | Y | N | Taylor | 0 | N | 3641204 |  | N
GAC | 13347 | 5839N |  | Digi Timer | 2025-02-25 |  | PMI | N/A | EOL | 105059 |  | N | N | Y | N | Taylor | 0 | N |  |  | N
GAC | 13348 | EA2-TX+100+HD |  | Moisture Sensor | 2023-03-30 |  | MICHEL | RHOD | FOL | 0F2C-105 |  | N | N | Y | N | MICHELL INSTRTUMENTS | 0 | Y | C of C |  | N
GAC | 1342 | TCA94-8-72C48 |  | Sealing Furnance | 2003-01-01 | 2024-06-03 | N/A | Rhod/Amado | FOL | 991 | Next Half Year PM 11/03/24 | N | Y | N | N | BTU | 0 | N | N/A | GAF-1161 | N
GAC | 13420 | 475040 |  | Die Shear | 2024-09-12 | 2024-07-17 | PMI | Amado | FOL | Z365947 |  | N | N | N | N | Extech Instrument Corp | 0 | N |  |  | N
GAC | 13421 | 09/10/68 |  | Tachometer, Laser, Photo | 2024-10-04 |  | PMI | Rhod | EOL | 180610088 |  | N | N | Y | N | Extech Instruments | 0 | N | C of C |  | N
GAC | 13422 | Sebastian V |  | Stud Pull Test | 2024-12-27 | 2024-10-27 | Quad G | Rhod | FOL | 698021VALB | Next Yearly Pm. 01/04/2024 | N | N | N | N | Quad Group | 0 | N | C of C | GAF-1161 | N
GAC | 13427 | DVG-64A |  | Vacuum Gauge | 2024-04-11 |  | IPS | N/A | FOL | 424-2039-0376 |  | N | N | Y | N | Supco | 0 | N | 18006726 |  | N
GAC | 13428 | VG-64 |  | Vacuum Gauge | 2024-06-21 |  | TEKTRO | N/A | FOL | 404-0321-0656 |  | N | N | Y | N | OMEGA | 0 | N | 17447227 |  | N
GAC | 13429 | DVG-64A |  | Vacuum Gauge | 2024-07-11 |  | TEKTRO | N/A | FOL | 404-0321-0652 |  | N | N | Y | N | OMEGA | 0 | N | 17447205 |  | N
GAC | 1344 | EMZ-8TR |  | Microscope | 2003-01-01 | 2024-11-10 | N/A | GAC | FOL | MS-40D | RELEASED FOR PRODUCTION USE | N | Y | N | N | MEIJI TECHNO | 0 | N |  | GAF-1161 | N
GAC | 13440 Ball Shear | Condo Sigma |  | Ball Shear | 2025-03-15 | 2024-10-24 | XYZTEC | Don | FOL | 1526049 Ball Shear | HalfYear PM DONE 03/30/2023 | N | N | N | N | Xyztec | 0 | N | 36000360_20190916 |  | N
GAC | 13440 Die Shear | Condo Sigma |  | Die Shear | 2025-03-14 | 2024-10-24 | XYZTEC | Rhod | FOL | 1526049 Die Shear |  | N | N | N | N | Xyztec | 0 | N | 24000353_20190916 |  | N
GAC | 13440 Wire Pull | Condo Sigma |  | Wire Pull Tester | 2025-03-14 | 2024-10-24 | XYZTEC | Vinh | FOL | 1526049 wire pull | halfyear pm done 10/20/2023 | N | N | N | N | Xyztec | 0 | N | 01000555_20190916 |  | N
GAC | 13441 | 01409A |  | Caliper | 2024-12-06 |  | PMI | N/A | EOL | 20210309 |  | N | N | Y | N | NEIKO | 0 | N | C of C |  | N
GAC | 13444 | 52 II |  | Digital Thermometer | 2024-09-23 | 2024-11-10 | Fluke | PMI | EOL | 55331430MV |  | N | N | Y | N | Fluke | 0 | N | EVL742343 | GAF-1161 | N
GAC | 13445 | DWE |  | Temp/ Humidity Recorder | 2024-09-12 |  | Dickso | N/A | FOL | 16460976 & 19150282 |  | N | N | Y | N | Dickson | 0 | N | AQWI-7.1 |  | N
GAC | 13446 | DWE |  | Temp/ Humidity Recorder | 2024-09-12 |  | Dickso | N/A | FOL | 16461318 & 19150280 |  | N | N | Y | N | Dickson | 0 | N | AQWI-7.1 |  | N
GAC | 13447 | DWE |  | Temp/ Humidity Recorder | 2024-09-12 |  | Dickso | N/A | EOL | 16460906 & 19150274 |  | N | N | Y | N | Dickson | 0 | N | AQWI-7.1 |  | N
GAC | 13448 | DWE |  | Temp/ Humidity Recorder | 2024-09-12 |  | Dickso | N/A | Engineering | 16461319 & 19093509 |  | N | N | Y | N | Dickson | 0 | N | AQWI-7.1 |  | N
GAC | 13449 | 5863 |  | Digi Timer | 2025-02-02 |  | PMI | N/A | FOL | NO SERIAL # |  | N | N | Y | N | TAYLOR | 0 | Y | 3638647 |  | N
GAC | 1345 | EMZ |  | Microscope | 2003-01-01 | 2024-08-13 | N/A | GAC | Environmental | 180131 |  | N | Y | N | N | MEIJI TECHNO | 0 | N |  |  | N
GAC | 13451 | DUGY3-100-4L |  | Vacuum, Pressure Gauge | 2025-02-22 |  | PMI | N/A | Environmental | U332858-00-02 | PRODUCTION | N | N | Y | N | WEISS | 0 | N | 3643734 |  | N
GAC | 13453 | TYPE K |  | Thermocouple | 2025-04-01 |  | PMI | N/A | EOL | Pmc0182 |  | N | N | Y | N | THERM X | 0 | N | 3780080 |  | N
GAC | 13454 | EA2-TX+100+HD |  | Moisture Sensor | 2025-01-24 |  | MICHEL | N/A | FOL/RTC | 1B61-031 |  | N | N | Y | N | Michell instrument | 0 | N | 1801 |  | N
GAC | 13455 | DUGY3-100-4L |  | Vacuum, Pressure Gauge | 2025-05-20 | 2003-01-01 | PMI | N/A | Eng'r | U349402-00-01 |  | N | N | Y | N | WEISS | 0 | N |  |  | N
GAC | 13456 | 4501 |  | PIND | 2024-11-01 |  | SPCTR | N/A | Environmental | 4040570 |  | N | N | Y | N | Spectral Dynamics | 0 | N | See attached |  | N
GAC | 13457 | PH220 |  | Solder Dip Tester | 2024-06-14 |  | PMI | N/A | EOL | A039034 |  | N | N | Y | N | EXTECH INSTRUMENTS | 0 | N | 3564615 |  | N
GAC | 13458 | 775 |  | Electrostatic Field Meter | 2024-09-24 |  | PMI | N/A | Engineering | 3825 |  | N | N | Y | N | ION SYSTEMS | 0 | N | 3584828 |  | N
GAC | 13459 | Type K |  | Thermocouple | 2024-08-17 |  | PMI | N/A | FOL for Profiler | PMC0188 |  | N | N | Y | N | Omega Engineering | 0 | N | 3584829 |  | N
GAC | 13460 | LS803 |  | SCALE | 2024-10-31 |  | PMI | N/A | FOL | 65597 |  | N | N | Y | N | Heidenhain | 0 | N |  |  | N
GAC | 13461 | R2920 |  | Temperature Probe | 2024-09-06 |  | PMI | N/A | FOL | U373118-00-01 | Next CAL - 09/06/2024 | N | N | Y | N | REED INSTRUMENTS | 0 | N | REED |  | N
GAC | 13462 | CD-12"ASX |  | Caliper | 2024-09-22 |  | PMI | N/A | Engineering | 0039003 |  | N | N | Y | N | MITUTOYO CORPORATION | 0 | N | C of C |  | N
GAC | 13463 | CD-6"ASX |  | Caliper | 2024-09-16 |  | PMI | N/A | EOL | A22207597 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 13464 | RTRH |  | Temp/ Humidity Recorder | 2024-09-20 |  | Dickso | N/A | 4TH OPTICAL | 19092466 | Not Required | N | N | Y | N | Dickson | 0 | N |  | N/A | N
GAC | 13465 | TC-HH-K-24-X-120-MCL |  | Thermocouple TX | 2024-10-09 |  | PMI | N/A | Engineering | 192695 |  | N | N | Y | N | Therm-X | 0 | N | 3602899 |  | N
GAC | 13466 | 19290 |  | Electrostatic Field Meter | 2024-10-26 |  | PMI | N/A | Engineering | 192902243008 |  | N | N | Y | N | DESCO | 0 | N | PMI REPORT |  | N
GAC | 13467 | Cobalt One |  | Plate Maker | 2003-01-01 | 2024-06-21 | N/A | Jay/Rhod | EOL | 7170059 | Done Quarterly PM 2/9/2023 | N | Y | Y | N | Inkcups | 0 | N |  | GAF-1161 | N
GAC | 13468 | CLP-11-HE-4MVCR/118T-110CC-MFV |  | Fine Leak Detector | 2024-04-10 |  | VTI | N/A | EOL | 8297 |  | N | N | Y | N | VACUUM TECHNOLOGY INC. | 0 | N | C of C |  | N
GAC | 13469 | SF-1000 |  | Solder Dip Tester | 2024-11-14 | 2024-08-27 | GAC | john & Rhod | Solder | 201612206050 | YEARLY PM DUE DATE:11/14/2024 | N | N | N | N | YSC | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13470 | SF-1000 |  | Solder Dip Tester | 2024-11-14 | 2024-08-27 | GAC | Lucio | Solder | 201612206048 | YEARLY PM DUE DATE: 11/14/2024 | N | N | N | N | YSF | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 13471 | FX-301B |  | Solder Dip Tester | 2024-11-13 | 2024-11-13 | GAC | JAY/RHOD | Solder | 05301218001127 |  | N | N | N | N | Hako | 0 | N |  | GAF-1161 | N
GAC | 13472 | FX-301B |  | Solder Dip Tester | 2024-11-13 | 2024-11-13 | GAC | JAY/RHOD | Solder | 05301218001132 |  | N | N | N | N | Hako | 0 | N |  | GAF-1161 | N
GAC | 13473 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | EOL | 19165237 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047615 |  | N
GAC | 13474 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | EOL | 19165220 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047610 |  | N
GAC | 13475 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | EOL | 19165168 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047609 |  | N
GAC | 13476 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165238 |  | N | N | Y | N | DICKSON | 0 | N | Certificate# 10047616 |  | N
GAC | 13477 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165232 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047613 |  | N
GAC | 13478 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165247 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047617 |  | N
GAC | 13479 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165227 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047612 |  | N
GAC | 13480 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165226 |  | N | N | Y | N | DICKSON | 0 | N | Certificate #10047611 |  | N
GAC | 13481 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | FOL | 19165236 |  | N | N | Y | N | DICKSON | 0 | N | Certificate #10047614 |  | N
GAC | 13483 | Vac/Bake-Out Oven |  | Oven | 2024-12-28 | 2024-06-05 | GAC | Rhod | FOL | 6370-1-2352-02 | Next Yearly PM 12/28/2024 | N | N | N | N | Polaris Electronics LLC | 0 | N |  |  | N
GAC | 13484 | SAT-100 |  | Steam Age Chamber | 2024-07-29 | 2025-01-29 | GAC | Rhod & John | Solder Dip | 890427-1-01 | Next Yearly PM 1/30/25 | N | N | N | N | Mountaingate Engineering Inc. | 0 | Y |  |  | N
GAC | 13485 | CI-2052X |  | Particle Counter | 2024-11-13 |  | Micro | N/A | FOL | 079989 |  | N | N | Y | N | Climet | 0 | N |  |  | N
GAC | 13486 | 5863 |  | Digi Timer | 2025-02-25 |  | PMI | N/A | Solder Dip | 105678 |  | N | N | Y | Y | Taylor | 0 | N |  |  | N
GAC | 13487 | DAD3361 |  | Saw | 2003-01-01 | 2024-10-03 | Disco | Lucio | FOL | CV1064 | Up | N | Y | N | N | Disco | 0 | N |  | GAF-1161 | N
GAC | 13488 | RTRH |  | Temp/ Humidity Recorder | 2024-12-02 |  | DICKSO | N/A | Solder Dip | 19165249 |  | N | N | Y | N | DICKSON | 0 | N | Certificate # 10047620 |  | N
GAC | 13489 | Aerostat XC2 |  | Ionizer | 2024-11-29 | 2024-06-29 | Simco | Jay | Lab/Milpitas | 242591XC2US05H3020 |  | N | N | N | N | Simco Ion | 0 | N | GAF-1001 | GAF-1061 | N
GAC | 13490 | Moisture Monitor |  | Moisture Sensor | 2025-05-24 |  | Polari | N/A | FOL | XTR65C3035 |  | N | N | Y | N | Polaris Electronics LLC | 0 | N |  |  | N
GAC | 3085 | QUANTUM |  | Die Attach | 2003-01-01 | 2024-11-10 | N/A | JAY/RHOD | FOL | 003085 | Next yearly PM. 12/19/2023 | N | Y | N | N | QUANTUM MATERIAL | 0 | N |  |  | N
GAC | 4450 | 4450 |  | Die Attach | 2003-01-01 | 2023-12-01 | N/A | Rhod | FOL | 4450-1249 |  | N | Y | N | N | SEMI CONDUCTOR | 0 | Y |  |  | N
GAC | 801 | 5839N |  | Digi Timer | 2025-02-02 |  | PMI | N/A | EOL | V3043 |  | N | N | Y | N | Taylor | 0 | N | 3521670 |  | N
GAC | 802 | 5863 |  | Digi Timer | 2025-02-13 |  | PMI | N/A | EOL | None |  | N | N | Y | N | Taylor | 0 | N | 3641203 |  | N
GAC | 803 | Delux Timer |  | Digi Timer | 2025-03-04 |  | PMI | Karlo | EOL | DT-3 |  | N | N | Y | N | Taylor | 0 | N | 3642708 |  | N
GAC | 804 | 5839-10 |  | Digi Timer | 2025-02-25 |  | PMI | N/A | EOL | 3115 |  | N | N | Y | N | Taylor | 0 | N | 3642709 |  | N
GAC | 809 | G-488 |  | Fine Leak bomb | 2024-08-12 | 2024-08-05 | GAC | Lucio | Environmental | 64 | Next half year pm 2-11-24 | N | N | N | N | Trio-tech | 0 | N | GA |  | N
GAC | 810 | G-489 |  | Gross Leak Bomb | 2024-11-28 | 2024-07-29 | GAC | Don/John | Environmental | 42661 |  | N | N | N | N | Trio-tech | 0 | N | GAF-1001 | Operation and Service Manual | N
GAC | 811 | 80PK-1 |  | Thermocouple | 2025-03-12 |  | PMI | Karlo | Environmental | PMC0107 |  | N | N | Y | N | FLUKE | 0 | N | 3648980 |  | N
GAC | 813 | P700XL |  | Salt Atmospheric Chamber | 2024-10-24 | 2024-08-26 | GAC | Lucio | Environmental | 3864-5 | Next Half Year Pm. 08/26/2024 | N | N | N | N | Bemco Inc. | 0 | N |  | GAF-1161 | N
GAC | 816 | 421502 |  | Digital Thermometer | 2025-02-12 |  | PMI | Karlo | Environmental | 11000486 |  | N | N | Y | N | EXTECH INSTRUMENTS | 0 | N | 3638648 |  | N
GAC | 818 | 421502 |  | Digital Thermometer | 2025-02-12 |  | PMI | Karlo | Environmental | 11000953 |  | N | N | Y | N | EXTECH INSTRUMENTS | 0 | N | 3638649 |  | N
GAC | 819 | EA10 |  | Digital Thermometer | 2024-12-04 |  | PMI | N/A | Engineering | Z381741 |  | N | N | Y | N | EXTECH INSTRUMENTS | 0 | N | 3621354 |  | N
GAC | 828 | 3 OZ. to 8 oz |  | Weight Set (Class M2) | 2024-10-17 |  | PMI | Rhod | Environmental | FT-3oz |  | N | N | Y | N | Hybrid Machine Products | 0 | N | GA |  | N
GAC | 829 | Q2-MR-01-MT |  | Microscope, Tool Maker | 2024-10-18 |  | PMI | Karlo | Burn-in | 5593 |  | N | N | Y | N | Mitutoyo | 0 | N |  |  | N
GAC | 830 | 02-0100 |  | Torque Tester | 2024-08-24 |  | PMI | Karlo | Environmental | 0FK032935 |  | N | N | Y | N | Mountz, Inc. | 0 | N | 3583158 |  | N
GAC | 831 | CD-6PS |  | Caliper | 2024-07-15 |  | PMI | Karlo | Environmental | 6001708 |  | N | N | Y | N | Mitutoyo | 0 | N | 3575952 |  | N
GAC | 835 | Techno HA-02 |  | IR Reflow Oven | 2023-07-20 | 2023-11-25 | GAC | Rhod | EOL | 90450 | Next Yearly PM. 03/14/2024 | N | N | N | N |  | 0 | Y |  |  | N
GAC | 8352 | MEIJI TECHNO |  | Microscope | 2003-01-01 | 2025-01-09 | N/A | GAC | FOL | EMZ-8TR |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | 837 | 1900 |  | Solder Dip Tester | 2025-01-11 |  | PMI | Karlo | Solder | 11320 |  | N | N | Y | N | Hybrid Machineproduct corp. | 0 | N | 3661922 |  | N
GAC | 842 | FR-064R |  | Freezer | 2024-11-04 | 2024-11-06 | GAC | Amado/Lucio | EOL | TR11YEA1950545 |  | N | N | N | N | Daewoo electronic | 0 | N | GAF-1001 | GAF-1161 | N
GAC | 850 | SAT-200-55V |  | Steam Age Chamber | 2024-05-06 | 2024-05-05 | GAC | Rhod | Solder | 8805-18-101 | Next Yearly PM 04/24/2024 | N | N | N | N | Mountain gate engineering | 0 | Y | GAF-1001 | GAF-1161 | N
GAC | 865 | 19280 |  | Wriststrap/Footstrap Tester | 2024-08-16 |  | PMI | Rhod | Environmental | 1.92802E+11 |  | N | N | Y | N | Desco | 0 | N | 3702830 |  | N
GAC | 881 | Criteria V |  | Burn-In Oven | 2024-07-05 | 2024-06-13 | GAC | Jay /Rhod | Burn-in | 525 | next yearly PM 11/01/2023 | N | N | N | N | Reliability Inc. | 0 | N |  | GAF-1161 | N
GAC | 907 | Criteria V |  | Burn-In Oven | 2024-06-29 | 2024-06-14 | GAC | Rhod/Jay | Burn-in | 464 | Next Yearly PM 12/05/2024 | N | N | N | N | Reliability Inc. | 0 | N | GA | GAF-1161 | N
GAC | 916 | T2RC |  | Moisture Chamber | 2024-09-07 | 2024-01-17 | ESI | Lucio | Burn-in | 32848 |  | N | N | N | Y | Tenny Product Solution | 0 | Y | C of C | owner's manual | N
GAC | 917 | T2RC |  | Moisture Chamber | 2024-08-11 | 2024-08-09 | ESI | Lucio | Burn-in | 32121 |  | N | N | N | Y | Tenny Product Solution | 0 | N | C of C | Opearation and Maintenance Manual | N
GAC | 921 | Criteria V |  | Burn-In Oven | 2024-07-11 | 2024-06-14 | GAC | Lucio | Burn-in | 188 | YEARLY PM 07/21/2024 | N | N | N | N | Reliability Inc. | 0 | N | GAF-1436 | GAF-1161 | N
GAC | 923 | TDS2022 |  | Oscilloscope | 2024-11-28 |  | PMI | Karlo | Burn-in | CO33718 |  | N | N | Y | N | Tektronix | 0 | N |  |  | N
GAC | 925 | 3200B6 |  | Accelerometer | 2025-03-26 |  | Dytran | N/A | Lab/Mechanical Shock | 05/29/37 |  | N | N | Y | N | Dytran Instruments Inc | 0 | N | C of C |  | N
GAC | 928 | 80PK-1 |  | Thermocouple | 2025-03-12 |  | PMI | Rhod | EOL | PMC0094 |  | N | N | Y | N | FLUKE | 0 | N | 3648981 |  | N
GAC | 9307 | NIKON |  | Microscope | 2003-01-01 | 2024-12-22 | N/A | Lucio | FOL | SMZ660 |  | N | Y | N | N |  | 0 | Y |  | GAF-1161 | N
GAC | 932 | 1500 |  | Fatigue Tester | 2024-08-03 |  | PMI | Karlo | Burn-in | 4760 |  | N | N | Y | N | Hybris Machine Products | 0 | N | 3575955 |  | N
GAC | 940 | Type K |  | Thermocouple | 2024-11-28 |  | PMI | N/A | Engineering | PMC0124 |  | N | N | Y | N | Omega Engineering, Inc. | 0 | N | 3738819 |  | N
GAC | 950 F/L | 8050 |  | Fine Leak bomb | 2024-08-11 | 2024-08-11 | GAC | Rhod /Amado | EOL | 8050-1072 | Next Yearly PM 08/11/24 | N | N | N | N | Web Technology Inc | 0 | N | GA | OWNER'S MANUAL | N
GAC | 950 G/L | 8050 |  | Gross Leak Bomb | 2024-08-11 | 2024-08-11 | GAC | Rhod / Amado | Environmental | 8050-10724 | Next Yearly PM due on 08/11/2024. | N | N | N | N | WEB technology, Inc | 0 | N | GA | MACHINE MANUAL | N
GAC | 961 | TSA-101S-W |  | Temp Cycle | 2025-02-14 | 2024-09-04 | Acom | Lucio | EOL | 153004140 | Next Year PM 09/04/2024 | N | N | N | N | Espec | 0 | N | 6288622 | OWNER'S MANUAL | N
GAC | 962 | CDM250 |  | Digital Multimeter | 2025-04-29 |  | PMI | Karlo | Burn-in | TW54707 |  | N | N | Y | N | TEKTRONIX | 0 | N | 3666829 |  | N
GAC | 963 | TC-GG-K-24-X-120-MC |  | Thermocouple | 2025-04-01 |  | PMI | N/A | Environmental | PMC002-PMC010,PMC167 |  | N | N | Y | N | THERM X OF CALIFORNIA | 0 | N | 3777871, 88-95 |  | N
GAC | Air Dryer |  |  | Facilities | 2003-01-01 | 2024-09-14 | N/A | RHOD | FACILITY | 308338 |  | N | Y | N | N | Sullair | 0 | N |  |  | N
GAC | Cleaner #1 | 2510R-DTH |  | Cleaner | 2003-01-01 | 2024-06-14 | N/A | Rhod | FOL | RLC100033908D | Next half-year pm 10/17/24 | N | Y | N | N | Bransonic | 0 | N |  |  | N
GAC | Cleaner #2 | 2510R-DTH |  | Cleaner | 2003-01-01 | 2024-06-14 | N/A | Amado | Solder | CPN-952-218R | HALF-YEAR PM DUE DATE: 11/14/2024 | N | Y | N | N | Bransonic | 0 | N |  | GAF-1161 | N
GAC | Cleaner #3 | CPX2800H |  | Cleaner | 2003-01-01 | 2024-06-14 | N/A | Amado | Solder | BGG031741970B | HALF-YEAR PM DUE: 11/14/2023 | N | Y | N | N | Bransonic | 0 | N |  | GAF-1161 | N
GAC | DA-1 Scope | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-08-24 | N/A | Bi-optic | FOL | 1160 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | DA-2 Scope | SMZ800 |  | Microscope | 2003-01-01 | 2024-10-25 | N/A | GAC | FOL | 1004977 | Released to Production | N | Y | N | Y | NIKON | 0 | N |  | GAF-1161 | N
GAC | DA-6 | 6400 |  | Die Attach | 2003-01-01 | 2024-12-15 | N/A | Jay/Rhod | FOL | 838 | NEXT YEARLY PM 12/14/2023 | N | Y | N | N | Micro Assembly Technologies | 0 | Y |  | GAF-1161 | N
GAC | DA-7 | I-DRS400 |  | Die Attach | 2003-01-01 | 2024-06-29 | N/A | Rhod | FOL | X1100-S400-1 | Next Yearly Pm. 04/26/2025 | N | Y | N | N | NSW Automation | 0 | N |  |  | N
GAC | DA-MAN eutectic#4 | T-3002 |  | Die Attach | 2003-01-01 | 2024-05-29 | N/A | RHOD | FOL | /n/a | Next PM date 12/28/2022 | N | Y | N | N | Inseto/Tresky | 0 | N | N/A | GAF-1161 | N
GAC | DA-MAN-eutecthic 1 | DP VEEN 1200 |  | Die Attach | 2003-01-01 | 2024-09-04 | N/A | Rhod | FOL | 599 |  | N | Y | N | N | DP VEEN Co. | 0 | N |  | GAF-1161 | N
GAC | DA-MAN-eutecthic 2 | MILLEN S-14S-03 |  | Die Attach | 2003-01-01 | 2024-10-05 | N/A | RHOD | FOL | M-8084 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | DA-MAN-eutecthic 3 | N / A |  | Die Attach | 2003-01-01 | 2024-11-21 | N/A | Jay | FOL | N / A |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | DCS-140 | DCS140 |  | Wafer Clean | 2003-01-01 | 2023-10-25 | N/A | Rhod | FOL | LB1178 | Done Quarterly PM | N | Y | N | N | Disco | 0 | Y |  |  | N
GAC | DI Water System #1 | TBD |  | Facilities | 2003-01-01 | 2023-12-19 | N/A | GAC | Pad | TBD |  | Y | Y | N | N | Evoqua | 0 | N |  |  | N
GAC | FILTRATION SYSTEM | TRIO TECH 481-F |  | FILTRATION SYSTEM | 2003-01-01 | 2024-07-04 | N/A | Rhod | Environmental | 741 | Next Yearly Pm. 12/12/2023 | N | Y | N | N |  | 0 | N |  |  | N
GAC | Freezer #4 | n/a |  | Freezer | 2003-01-01 |  | N/A | N/A | Engineering | 474428 |  | Y | Y | Y | N | kevinator freezer | 0 | N |  |  | N
GAC | Hertz Compressor | logik 26s |  | Facilities | 2003-01-01 | 2024-06-05 | N/A | RHOD/LUCIO | FACILITY | HVD00008 | YEARLY PM DONE 12/06/2023 | N | Y | N | N | hertz | 0 | N |  | OWNER'S MANUAL | N
GAC | Home Vacuum |  |  | Facilities | 2003-01-01 | 2024-07-13 | N/A | Lucio/Rhod | FACILITY | 1269 |  | N | Y | N | N | sullair | 0 | N |  | GAF-1161 | N
GAC | Hp-1 | NIKON |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | Bi-optics | FOL | 63858 | Released to Production | N | Y | N | N |  | 0 | N |  |  | N
GAC | Hp-2 | NIKON 62112 |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | Bi-optic | FOL | 62112 |  | N | Y | N | N | NIKON | 0 | N |  | GAF-1161 | N
GAC | Hp-3 | NIKON |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | Bi-optic | FOL | 61016 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | Hp-4 | NIKON |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | Bi-optic | FOL | 64928 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | Hp-5 | NIKON |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | LUCIO | FOL | 65349 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | Hp-6 | Optiphot |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | Bi-optic | FOL | 63296 | Next Pm: 10/09/24 | N | Y | N | N | Nikon | 0 | N |  |  | N
GAC | Hp-7 | NIKON 240495 |  | Microscope | 2003-01-01 | 2025-01-19 | N/A | LUCIO/JOHN | FOL | 240495 |  | N | Y | N | N | NIKON | 0 | N |  |  | N
GAC | Laser | LASER |  | Lazer Engraver | 2003-01-01 | 2024-05-16 | N/A | Lucio | Environmental | LSR1 |  | N | Y | N | N | FDA | 0 | N |  |  | N
GAC | LP-1 | 569 |  | Microscope | 2003-01-01 | 2024-10-09 | N/A | Bi-optic | FOL | 660 | Next Yearly PM 10/09/24 | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-10 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | LUCIO | FOL | B122 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-11 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | LUCIO | FOL | 1236 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | LP-12 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | GAC | FOL | SCP12 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | LP-13 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-18 | N/A | Bi-optic | Solder | 1154 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-14 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | Bi-optic | FOL | CAMBRIDGE |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-15 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-11-13 | N/A | GAC | FOL | 1159 | RELEASED FOR PRODUCTION USE. | N | Y | N | N | BAUSH & LOMB | 0 | N |  | GAF-1161 | N
GAC | LP-16 | S63 leica |  | Microscope | 2003-01-01 | 2024-10-16 | N/A | LUCIO | FOL | 10447255 |  | N | Y | N | N | leica | 0 | N |  |  | N
GAC | LP-17 | BAUSCH & LOMB |  | Microscope | 2003-01-01 | 2024-07-18 | N/A | BI-OPTIC | FOL | 1158 |  | N | Y | N | N |  | 0 | Y |  |  | N
GAC | LP-18 | STEREO ZOOM 4 |  | Microscope | 2003-01-01 | 2024-07-14 | N/A | Bi-optic | Solder | 1136 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-19 | BAUSCH & LOMB |  | Microscope | 2003-01-01 | 2024-10-11 | N/A | LUCIO | FOL | 1152 |  | N | Y | N | N | BAUSCH & LOMB | 0 | N |  | GAF-1161 | N
GAC | LP-2 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-11-10 | N/A | JAY/RHOD | FOL | SW 2 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-20 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-15 | N/A | JAY | FOL | 1156 |  | N | Y | N | N | STEREO ZOOM | 0 | N |  |  | N
GAC | LP-21 | STEREO ZOOM 4 |  | Microscope | 2003-01-01 | 2024-08-14 | N/A | Bi-optic | Environmental | CENT 21 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-22 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-21 | N/A | Bi-optic | Marking | 1232 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-23 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-21 | N/A | Bi-optic | 4TH OPTICAL | 1233 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-24 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-21 | N/A | Bi-optic | Marking | 1135 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-25 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-21 | N/A | Bi-optic | 4TH OPTICAL | 1231 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-26 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-07-22 | N/A | Bi-optic | 4TH OPTICAL | 1234 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-27 | BAUSCH & LOMB |  | Microscope | 2003-01-01 | 2024-10-16 | N/A | LUCIO | Marking | 1174 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-28 | Sterio zoom 4 |  | Microscope | 2003-01-01 | 2023-07-11 | N/A | Bi-optic | Environmental | 123456 |  | Y | Y | N | N |  | 0 | N |  |  | N
GAC | LP-29 | bausch & lomb |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | Lucio | FOL | 84171 | Released to Production | N | Y | N | N |  | 0 | N |  | GAF-1161 Rev 4 | N
GAC | LP-3 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-27 | N/A | JAY/RHOD | FOL | 1157 |  | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | LP-30 | ACCU SCOPE |  | Microscope | 2003-01-01 | 2024-08-14 | N/A | Bi-optic | Marking | 1273 |  | N | Y | N | N |  | 0 | N |  |  | N
GAC | LP-31 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-27 | N/A | JAY | Solder | 569 | RELEASED TO PRODUCTION | N | Y | N | N |  | 0 | N |  | GAF-1161 REV 4 | N
GAC | LP-32 | MEIJI EMZ |  | Microscope | 2003-01-01 | 2024-08-14 | N/A | John | EOL | 112826 |  | N | Y | N | N | MEIJI TECHNO AMERICA | 0 | N |  |  | N
GAC | LP-33 | MEIJI EMZ |  | Microscope | 2003-01-01 | 2024-07-22 | N/A | GAC | Environmental | 112820 |  | N | Y | N | N | MEIJI TECHNO AMERICA | 0 | N |  |  | N
GAC | LP-34 | EMZ |  | Microscope | 2003-01-01 | 2024-10-17 | N/A | Rhod | FOL | 34554 |  | N | Y | N | N | MEIJI | 0 | N |  | EMZ Instruction Manual | N
GAC | LP-35 | EMZ |  | Microscope | 2003-01-01 | 2024-10-27 | N/A | JAY | FOL | 108077 | Released to production | N | Y | N | N | MEIJI | 0 | N |  | GAF-1161 | N
GAC | LP-36 | CZ-1000 |  | Microscope | 2003-01-01 | 2024-11-23 | N/A | JAY/RHOD | FOL | 09302020-CN1 | Next PM 09/30/21 | N | Y | N | N | MEIJI | 0 | N |  | GAF-1161 | N
GAC | LP-37 | Meiji EMT |  | Microscope | 2003-01-01 | 2024-11-29 | N/A | Jay/Rhod | FOL | 18843 | Next HY PM 01/05/2024 | N | Y | N | N | Meiji | 0 | N |  | GAF-1161 | N
GAC | LP-38 | EMZ |  | Microscope | 2003-01-01 | 2024-07-20 | N/A | Rhod | EOL | 110261 |  | N | Y | N | N | MEIJI | 0 | N |  |  | N
GAC | LP-39 | EMZ |  | Microscope | 2003-01-01 | 2024-07-24 | N/A | Rhod | EOL | 111223 |  | N | Y | N | N | MEIJI | 0 | N |  |  | N
GAC | LP-4 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-10-10 | N/A | GAC | FOL | SCP4 |  | N | Y | N | N | LEICA S6E | 0 | N |  | GAF-1161 | N
GAC | LP-40 | EMZ |  | Microscope | 2003-01-01 | 2024-08-04 | N/A | Rhod | FOL | 120064 |  | N | Y | N | N | MEIJI | 0 | Y |  |  | N
GAC | LP-41 | LEICA |  | Microscope | 2003-01-01 | 2024-12-01 | N/A | Jay | FOL | LEICAS9D |  | N | Y | N | N | XYZTEC | 0 | N |  | GAF-1161 | N
GAC | LP-5 | STEREO ZOOM 4 |  | Microscope | 2003-01-01 | 2024-08-14 | N/A | GAC | FOL | 1162 |  | N | Y | N | N | Busch | 0 | N |  |  | N
GAC | LP-6 | STEREO ZOOM 4 |  | Microscope | 2003-01-01 | 2024-08-14 | N/A | Bi-optic | Environmental | 1235 |  | N | Y | N | N | Bausch | 0 | N |  |  | N
GAC | LP-7 | STEREO ZOOM |  | Microscope | 2003-01-01 | 2024-11-10 | N/A | GAC | FOL | 1014 | RELEASED FOR PRODUCTION USE | N | Y | N | N | LEICA | 0 | N |  | GAF-1161 | N
GAC | LP-8 | LEICA |  | Microscope | 2003-01-01 | 2024-10-10 | N/A | GA | FOL | S6E | Next Yearly PM: 10/09/24 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | LP-9 | LEICA |  | Microscope | 2003-01-01 | 2024-10-10 | N/A | RHOD | FOL | 1019 | Next PM: 10/09/24 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | M-200 | DFM-M200 |  | Wafer Mount | 2003-01-01 | 2024-10-29 | N/A | Jay | FOL | W15SCP | Released to Production | N | Y | N | N |  | 0 | N |  | GAF-1161 Rev 4 | N
GAC | T201 E1 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | John & Rhod | 4TH OPTICAL | T201 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T202 E1 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | John & Rhod | Marking | T202 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T203 E1 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | Rhod & John | Marking | T203 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T204 E1 | S2222 |  | ESD Box | 2003-01-01 |  | N/A | N/A | Marking | T204 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T205 E1 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | Rhod & John | Trim | T205 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T206 E1 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | Rhod & John | Trim | T206 E1 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | T206 E2 | S2222 |  | ESD Box | 2003-01-01 | 2024-07-23 | N/A | John & Rhod | Trim | T206 E2 |  | N | Y | N | N | Statico | 0 | N |  |  | N
GAC | TRIM & FORM 2 | JB2ANUSI3AC |  | Trim Form | 2003-01-01 | 2024-08-20 | N/A | Lucio | Environmental | HH072341 |  | N | Y | N | N | JAY D. SPROUT COMPANY, INC. | 0 | N |  |  | N
GAC | Trimmer 1 | MO-643 |  | Dip Trimmer | 2003-01-01 | 2024-08-21 | N/A | Lucio | Environmental | N/A | Next Yearly PM 08/22/24 | N | Y | N | N | EKMA | 0 | N |  |  | N
GAC | Trimmer 2 | MO-643 |  | Dip Trimmer | 2003-01-01 | 2024-07-24 | N/A | LB | Environmental | NA | Next Yearly PM 07/22/24 | N | Y | N | N | EKMA | 0 | N |  |  | N
GAC | VAC SEALER 1 | 35232 |  | VACUUM SEALER | 2003-01-01 | 2024-06-22 | N/A | Jay | 4TH OPTICAL | 41363 | Next Yearly PM 12/19/24 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | Wafer Expander 1 | CLT-DXE-900 |  | Wafer Expander | 2003-01-01 | 2024-07-30 |  | John | FOL | 24.3894 | Next Yearly PM 05/01/25 | N | Y | N | N | Corning | 0 | N |  |  | N
GAC | Wafer Wash #2 | 977 |  | Wafer Clean | 2003-01-01 | 2024-06-27 | N/A | ADT/John | Front of Line | 640760 | Next Yearly PM 03/28/25 | N | Y | N | N | ADT | 0 | N |  |  | N
GAC | WB-1 | 8060 |  | Wirebond | 2003-01-01 | 2024-04-24 | N/A | Jay | FOL | CD-0846 | Released to Production | N | Y | N | N | K & S | 0 | Y |  | GAF-1161 Rev 4 | N
GAC | WB-11 | 3700 |  | Wirebond | 2003-01-01 | 2024-04-30 | N/A | Vinh | FOL | 223070101510.00 | Yearly PM 02/22/2024 | N | Y | N | N |  | 0 | N |  |  | N
GAC | WB-12 | M20 B |  | Wirebond | 2003-01-01 | 2022-12-06 | N/A | Don | FOL | 9805003.00 |  | Y | Y | N | N |  | 0 | Y |  |  | N
GAC | WB-13 | K&S 8060 |  | Wirebond | 2003-01-01 |  | N/A | N/A | FOL | C117 |  | Y | Y | Y | N |  | 0 | N |  |  | N
GAC | WB-14 | 8060 |  | Wirebond | 2003-01-01 | 2024-10-17 | N/A | Lucio/Amado | FOL | CD0983 |  | N | Y | N | N | K&S | 0 | Y |  | GAF-1161 | N
GAC | WB-15 | 8060 |  | Wirebond | 2003-01-01 | 2022-11-15 | N/A | Ricky | FOL | CD0894 |  | Y | Y | N | N |  | 0 | N |  |  | N
GAC | WB-17 | 1488 |  | Wirebond | 2003-01-01 |  | N/A | Ricky | FOL | 9133 |  | Y | Y | Y | N | k&S | 0 | N |  |  | N
GAC | WB-18 | 4KEH |  | Wirebond | 2003-01-01 | 2024-11-06 | N/A | VINH | FOL | 21868 | RELEASED FOR PRODUCTION USE | N | Y | Y | N | WESTBOND | 0 | N |  | GAF-1161 | N
GAC | WB-18 Scope | SZ51 |  | Accelerometer | 2003-01-01 | 2024-11-10 | N/A | JAY/RHOD | FOL | 1332 |  | N | Y | N | N | Olympus | 0 | N |  | GAF-1161 | N
GAC | WB-19 | 1488 |  | Wirebond | 2003-01-01 |  | N/A | N/A | FOL | 8780 |  | Y | Y | Y | N |  | 0 | N |  |  | N
GAC | WB-20 | ICONN PLUS |  | Wirebond | 2003-01-01 | 2024-11-06 | N/A | Vinh | FOL | SP74205-1758084 | Yearly PM 12/12/2023 | N | Y | N | N |  | 0 | N |  | GAF-1161 | N
GAC | WB-21 | ICON |  | Wirebond | 2003-01-01 | 2024-11-06 | N/A | VINH | FOL | ST39753-1052063 | Yearly PM 02/18/2024 | N | Y | N | N | K&S | 0 | Y |  |  | N
GAC | WB-22 | M17S |  | Wirebond | 2003-01-01 | 2024-05-06 | N/A | Rhod | FOL | 61-S600237 | Yearly PM 02/18/2024 | N | Y | N | N | Delvotec | 0 | Y |  | GAF-1161 | N
GAC | WB-3 | 7476 77E-79 |  | Wirebond | 2003-01-01 | 2024-06-12 | N/A | Lucio/Amado | FOL | 18183 | Yearly Pm 12/09/2023 | N | Y | N | N | West Bond | 0 | N |  |  | N
GAC | WB-4 | 1488 TURBO L |  | Wirebond | 2003-01-01 |  | N/A | N/A | FOL | 5900 |  | Y | Y | Y | N |  | 0 | N |  |  | N
GAC | WB-5 | 8060 |  | Wirebond | 2003-01-01 | 2024-06-12 | N/A | DON/VINH | FOL | 635 | Yearly PM 12/09/2022 | N | Y | N | N |  | 0 | N |  |  | N
GAC | WB-9 | 8060 |  | Wirebond | 2003-01-01 | 2024-12-06 | N/A | Rhod | FOL | wb9635 |  | N | Y | N | N |  | 0 | Y |  | GAF-1161 | N
GAC | Welder #3 | 4200CD |  | Welder | 2003-01-01 | 2024-08-16 | N/A | RHOD/AMADO | FOL | TBD001 | Next Yearly PM 11/20/2024 | N | Y | N | N | Polaris Electronics Corporation | 0 | N |  | GAF-1161 | N
GAC | Welder #4 | Accu-Weld 5270 CD Proj Welder |  | Welder | 2003-01-01 | 2024-07-16 | N/A | John | FOL | 6370-1-2352-00 | Next annual PM 01/12/25 | N | Y | N | N | Polaris Electronics Corp | 0 | N |  |  | N